## Slide 1: Computing and Open Data for future PandaX-xT
Xun Chen （谌勋）
TSUNG-DAO LEE INSTITUTE
PandaX-xT First Open Meeting
2025/4/10

## Slide 2: Outline
Data and Challenges
Computing Platforms
New data storage and new algorithms
Slow control
Open data
Summary

## Slide 3: What data is recorded
Scintillation produced by interactions in liquid xenon is detected by PMT arrays operated in darkness.
Each PMT produces an analog voltage pulse proportional to the amount of detected light.
Readout signals are digitized into waveforms by fast electronics.
Waveforms with timestamp and channel information are recorded and stored.
digitizer

## Slide 4: Challenges
Large amount of readout channels
~ 10x data of PandaX-4T
  10 PB/yr?
500MHz sampling rate
~ 104 channels
14 bit FADC
High data rate ~ 600 MB/s normally, 2-3GB/s for calibration
Data Storage write speed and capability
Data transfer network bandwidth
Data processing new algorithms
Money

## Slide 5: Computing Platform
Laboratory
Chengdu Data Center
SJTU Network Center
Data Collection
Temporary Storage
Online Processing
Data Quality Monitoring
Primary Database
Slow Control and Alerting
Data Processing
Data Analysis
Mid-term Storage
Stand-by Database
Analysis Database
Data Re-Processing
Long-term Storage
Simulation
Simulation Database
Open Data

## Slide 6: Inside the laboratory
Online processing
  Automated
  message queue
Database
  Meta information
Data deletion
  soon after transfer to Chengdu.
Network Bandwidth
  Required: ~6 Gbps
  Current: ~1.6 Gbps
1 dedicated 1Gbps (25k/M) + 1 normal enterprise 800 Mbps (2.8k/M)

## Slide 7: Key update: raw data storage
Current
  signals from 10s to several minutes in a single file
  Cons
    Hard to write data into a single file when number of channels become large
    Difficult for parallel processing
Plan
  Splitting data into chunks organized by time and sources.
  Update meta data database structure
  Develop algorithms for parallel processing
Data collector
source
source
source
data
source
source
source
data
data
data
data
data
data
data
data
data
data
data

## Slide 8: Data processing and reconstruction
Physics to data
Reconstruction to recover physics information
Particle scattering
Ionized electrons
Excitations
Primary scintillation
recombination
Proportional scintillation
Photoelectric effect
Voltage digitization
Waveform
waveform
Baseline subtraction and scaling with gain
Hit finding
Hit clustering
Signal building
Signal Tagging
Physical event building

## Slide 9: Update of reconstruction
Previous implementation
  File level parallelization
    Linear within a file
Data format changed
  Parallelization at different levels
  New algorithms need to be developed
Waveform segment level parallelization
waveform
Baseline subtraction and scaling with gain
Hit finding
Hit clustering
Signal building
Signal Tagging
Physical event building
Time level
Signal level parallelization
Time level

## Slide 10: Slow control
Monitor the status of laboratory
Continue to use the framework in PandaX-4T
  Python-based data collection
  Data persistent in InfluxDB
  Grafana interface
  Custom alerting system for on-site and remote people
Improvement
  More data sources
  AI-based prediction and alerting

## Slide 11: Open data
One of the major goal of PandaX-xT
Data levels – following the example of CERN
  Level 3 – Data in tables, plots of published articles
    Will be available together with the publication of papers
    Can be accessed via the open data platform of SJTU https://scidata.sjtu.edu.cn
  Level 2 – Selected data in the data sets used in plots/tables for publications
    Can be used to interpret different models
    Will be released after the publication of papers
  Level 1 – Reconstructed data
  Level 0 – Raw detector data (waveforms, trigger info)
    Both levels are hard to use for people outside the collaboration
    Will be released after the freezing of analysis

## Slide 12: Open is not enough
Ultimate goal: the FAIR principle
  Findable, Accessible, Interoperable and Reusable
Data preservation and management
  New metadata information
  Not limited to raw data, but applying to analysis data and simulation data
Software, analysis tools and documentation
  Code repository
  Tutorials and containers
Online analysis platform for model test with open data

## Slide 13: Summary
The next generation of large-scale xenon detectors will bring significant computing challenges, including:
  High-volume data storage
  Increased network bandwidth demands
  Complex processing and event reconstruction
Coordinated efforts will be essential to develop scalable solutions across these areas.
Furthermore, open data access will be a central goal for future experiments. Plans are underway to establish robust frameworks for data sharing, transparency, and community engagement.